## ReadMe
Arizona DEQ sampled effluent and biosolids for PFAS in a subset of wastewater treatment plants across the state. Effluent samples were collected from 39 facilities while biosolds were sampled from 25 of these locations. ADEQ did not complete a summary report for these samples but the data is summarized in this workbook. A static summary chart is also provided showing the frequency of PFAS detected in these samples.

## Facility Information
County | Facility | Sample Date | Effluent Sample
Maricopa | City of Goodyear 157th Ave WRF | 2022-06-06 | Discrete
Maricopa | City of Tolleson WWTP | 2022-06-06 | Discrete
Maricopa | Town of Gila Bend WWTP | 2022-06-07 | Discrete
Maricopa | City of El Mirage WRF | 2022-06-06 | Discrete
Maricopa | City of Goodyear Rainbow Valley WRF | 2022-06-06 | composite time-proportional every 30 min for 24 hr
Maricopa | Corgett Wash Water Reclamation Facility | 2022-06-06 | Discrete
Pima | Pima County - Tres Rios WWRF | 2022-06-01 | composite flow-weighted 24 hr intervals
Pima | Pima County Agua Nueva WRF | 2022-06-01 | composite flow-weighted 24 hr intervals
Pima | Pima County - Avra Valley WRF | 2022-06-01 | composite flow-weighted 24 hr intervals
Pima | Pima County - Mt. Lemmon WRF | 2022-06-02 | composite flow-weighted 24 hr intervals
Pima | Pima County Regional Wastewater Reclamation Department Green Valley WRF | 2022-06-02 | Discrete
Pima | Town of Marana WRF | 2022-06-01 | Discrete
Pinal | City of Casa Grande WRF | 2022-06-03 | Discrete
Pinal | Superstition Mountains WWTP Superstition Mountains Community Facilities District No. 1 | 2022-06-03 | composite time-proportional every 20 min for 24 hr
Pinal | Global Water Palo Verde Utilities Co | 2022-06-10 | Discrete
Pinal | Saddlebrook WWTF | 2022-06-03 | composite time-proportional every 1hr for 24 hr
Yavapai | City of Cottonwood WWTP | 2022-06-02 | Discrete
Mohave | Bullhead City Section 10 WWTP | 2022-06-07 | Discrete
Yuma | City of Somerton WWTP | 2022-06-07 | Discrete
Coconino | City of Flagstaff - Rio de Flag WRF | 2022-06-03 | Discrete
Coconino | City of Flagstaff - Wildcat Hill | 2022-06-03 | Discrete
Gila | Northern Gila County - American Gulch WWTP | 2022-06-07 | Discrete
Graham | City of Safford WRF | 2022-06-08 | Discrete
Maricopa | Wickenburg Ranch Water Reclamation Facility | 2022-06-07 | Discrete
Coconino | VALLE AIRPARK WRF | 2022-06-02 | Discrete
Cochise | City of Bisbee San Jose WWTP | 2022-06-08 | composite time-proportional every 1hr for 24 hr, monthly
Apache | Alpine Sanitary District WWTP Ponds | 2022-06-09 | Discrete
Pinal | Arizona City Sanitary District | 2022-06-10 | Discrete
La Paz | Town of Quartzite WWTP | 2022-06-07 | Discrete
Gila | City of Globe - Pinal Creek WWTP | 2022-06-07 | Discrete
Santa Cruz | Nogales International WWTP (U.S. IBWC) | 2022-06-02 | composite time-proportional every 30 min for 24 hr
Maricopa | City of Phoenix - 91st Ave WWTP | 2022-06-08 | Discrete
Coconino | Flagstaff Meadows WWTP | 2022-06-02 | Discrete
Gila | TOWN OF WINKELMAN - WWTP | 2022-06-07 | Discrete
Maricopa | Central Buckeye WWTP | 2022-06-06 | Discrete
Maricopa | City of Buckeye - Sundance WRF | 2022-06-06 | Discrete
Maricopa | Festival Ranch WRF | 2022-06-06 | Discrete
Maricopa | Litchfield Park Palm Valley WRF | 2022-06-09 | Discrete

## Effluent Results
|  | (ppt) | American Gulch | Arizona City | Flagstaff Meadows | Rio de Flag | Casa Grande | Nogales (U.S. IBWC) | Nogales (U.S. IBWC) | Nogales (U.S. IBWC) | Nogales (U.S. IBWC) | Saddlebrooke | SaddleBrooke | SaddleBrooke | SaddleBrooke Ranch | SaddleBrooke Ranch | Superstition Mts | Central Buckeye | Corgett Wash | Cottonwood | Goodyear 157th | Tres Rios | Valle Airpark | Avra Valley | Mount Lemmon | Town of Marana | Green Valley | Agua Nueva | Rainbow Valley | Somerton | Quartzsite | Sundance | Gila Bend | Winkelman | Globe - Pinal Creek | Festival Ranch | COP 91st Ave | Bullhead City | Wickenburg Ranch | El Mirage | Tolleson | Alpine Pond 3 | Alpine Pond 3 | Alpine Pond 1 | Bisbee - San Jose | Safford | Global Water - Palo Verde | Litchfield Park Palm Valley | Wildcat Hill | Sierra Vista
Component | CAS | Units | GVW-1 | AZSD-1 | FM-1 | RDF-1 | CG3 | NG3, Eff | 23C0056-02, Eff | 23C0056-06, Inf | 23C0056-07, IOI | SB2 | 23B0731-03, Eff | 23B0731-02, Inf | 23B0726-06, Eff | 23B0726-02, Inf | SM2 | CB-1 | C-1 | COC-1 | COG-1 | TR2 | VA-1 | AV3 | ML2 | TM3 | GV2 (6V2) | AN2 | RV-1 | COS-1 | TOQ-1 | S-1 | GB-1 | WM-1 | COG-1 | FR-WRF #1 | COP-91ST AVE WWTP #1 | BC-WWTP #1 | WR-WRF #1 | COE-WRF#1 | COT-WWTP #1 | AP2 | 23D2186-05 | 23D2186-03 | BB2 | SF2 | GWPVUC-1 | PV-1 | WH-1 | 23B0691-3
11Cl-PF3OUdS | 763051929 | ng/L | <0.41* | <0.4* | <0.4* | <0.4* | <0.43* | <0.42* | <0.97* | <5* | <5* | <0.4* | <1* | <5* | <0.92* | <5* | <0.4* | <0.4* | <0.43* | <0.42* | <0.4* | <0.41* | <0.42* | <0.4* | <0.41* | <0.41* | <0.41* | <0.42* | <0.39* | <0.41* | <0.4* | <0.39* | <2* | <0.41* | <0.42* | <0.42* | <0.41* | <0.43* | <0.41* | <0.4* | <2* | <2* | <0.82* | <0.82* | <0.4* | <0.43* | <0.4* | <0.43* | <0.42* | <0.86*
3:3 FTCA | 356025 | ng/L | <0.5* | <0.48* | <0.49* | <0.49* | <0.52* | <0.51* | <1.6* | <8.3* | <8.3* | <0.49* | <1.7* | <8.4* | <1.5* | <8.3* | <0.49* | <0.48* | <0.52* | <0.51* | <0.49* | <0.5* | <0.51* | <0.49* | <0.5* | <0.51* | <0.5* | <0.51* | <0.48* | <0.51* | <0.49* | <0.48* | <2.5* | <0.5* | <0.51* | <0.51* | 1.1, <4**, >0.5 | <0.52* | 0.78, <4**, >0.5 | <0.49* | <2.5* | <2.5* | <1.5* | <1.5* | <0.49* | <0.52* | <0.49* | <0.52* | <0.51* | <1.4*
4,8-Dioxa-3H-perfluorononanoic acid (ADONA) | 919005144 | ng/L | <0.83* | <0.81* | <0.82* | <0.81* | <0.87* | <0.85* | <0.69* | <3.5* | <3.5* | <0.82* | <0.72* | <3.5* | <0.65* | <3.5* | <0.83* | <0.81* | <0.87* | <0.85* | <0.82* | <0.83* | <0.85* | <0.82* | <0.83* | <0.84* | <0.84* | <0.85* | <0.8* | <0.84* | <0.81* | <0.8* | <4.2* | <0.84* | <0.85* | <0.86* | <0.83* | <0.87* | <0.83* | <0.83* | <4.2* | <4.2* | <0.58* | <0.58* | <0.82* | <0.87* | <0.81* | <0.87* | <0.85* | <0.61*
4:2 FTS | 757124724 | ng/L | <0.82* | <0.8* | <0.81* | <0.8* | <0.86* | <0.84* | <0.7* | <3.6* | <3.6* | <0.81* | <0.73* | <3.6* | <0.66* | <3.6* | <0.82* | <0.8* | <0.86* | <0.84* | <0.81* | <0.82* | <0.84* | <0.81* | <0.82* | <0.83* | <0.83* | <0.84* | <0.79* | <0.83* | <0.8* | <0.79* | <4.1* | <0.83* | <0.84* | <0.85* | <0.82* | <0.86* | <0.82* | <0.82* | <4.1* | <4.1* | <0.59* | <0.59* | <0.81* | <0.86* | <0.8* | <0.86* | <0.84* | <0.62*
5:3 FTCA | 914637493 | ng/L | <2.7* | <2.7* | <2.7* | <2.7* | <2.9* | <2.8* | <10* | <53* | <52* | <2.7* | <11* | <53* | <9.7* | <52* | <2.7* | <2.7* | <2.9* | <2.8* | <2.7* | <2.8* | <2.8* | <2.7* | <2.7* | <2.8* | <2.8* | <2.8* | <2.7* | <2.8* | <2.7* | <2.7* | <14* | <2.8* | <2.8* | <2.8* | 4.4, <20**, >2.8 | <2.9* | 13, <20**, >2.8 | <2.7* | <14* | <14* | <8.6* | <8.7* | <2.7* | <2.9* | <2.7* | <2.9* | <2.8* | <9*
6:2 FTS | 27619972 | ng/L | 0.67, <3.2**, >0.53 | 0.62, <3.1**, >0.52 | <0.52* | <0.52* | <0.56* | 21 | 11 | 32 | 73 | <0.53* | <0.98* | <4.8* | <0.89* | <4.8* | <0.53* | <0.52* | <0.56* | <0.55* | <0.53* | 1.2, <3.2**, >0.53 | <0.54* | <0.52* | <0.53* | <0.54* | <0.54* | 1.8, <3.2**, >0.54 | 0.92, <3.1**, >0.51 | <0.54* | <0.52* | 0.63, <3.1**, >0.51 | <2.7* | <0.54* | 0.81, <3.3**, >0.55 | <0.55* | 4.2 | 1.5, <3.3**, >0.56 | <0.53* | <0.53* | <2.7* | <2.7* | <0.83* | <0.84* | <0.52* | <0.56* | <0.52* | <0.56* | 0.91, <3.3**, >0.55 | <0.83*
7:3 FTCA | 812704 | ng/L | <3.2* | <3.2* | <3.2* | <3.2* | <3.4* | <3.3* | <8.1* | <41* | <41* | <3.2* | <8.4* | <41* | <7.6* | <41* | <3.2* | <3.2* | <3.4* | <3.3* | <3.2* | <3.3* | <3.3* | <3.2* | <3.2* | <3.3* | <3.3* | <3.3* | <3.1* | <3.3* | <3.2* | <3.1* | <16* | <3.3* | <3.3* | <3.4* | <3.3* | <3.4* | <3.3* | <3.2* | <16* | <16* | <7.4* | <7.5* | <3.2* | <3.4* | <3.2* | <3.4* | <3.3* | <7.1*
8:2 FTS | 39108344 | ng/L | <0.7* | <0.68* | <0.69* | <0.69* | <0.73* | <0.72* | <1.1* | <5.6* | <5.5* | <0.69* | <1.1* | <5.6* | <1* | <5.6* | <0.7* | <0.68* | <0.74* | <0.72* | <0.69* | <0.7* | <0.72* | <0.69* | <0.7* | <0.71* | <0.71* | <0.72* | <0.68* | <0.71* | <0.68* | <0.68* | <3.5* | <0.71* | <0.72* | <0.73* | <0.7* | <0.73* | <0.7* | <0.7* | <3.5* | <3.5* | <0.92* | <0.92* | <0.69* | <0.74* | <0.68* | <0.74* | <0.72* | <0.96*
9Cl-PF3ONS | 756426581 | ng/L | <0.37* | <0.37* | <0.37* | <0.37* | <0.39* | <0.39* | <0.85* | <4.4* | <4.4* | <0.37* | <0.89* | <4.4* | <0.81* | <4.4* | <0.37* | <0.37* | <0.4* | <0.39* | <0.37* | <0.38* | <0.38* | <0.37* | <0.38* | <0.38* | <0.38* | <0.38* | <0.36* | <0.38* | <0.37* | <0.36* | <1.9* | <0.38* | <0.39* | <0.39* | <0.38* | <0.39* | <0.38* | <0.37* | <1.9* | <1.9* | <0.72* | <0.73* | <0.37* | <0.4* | <0.37* | <0.39* | <0.39* | <0.75*
HFPO-DA (GenX) | 13252136 | ng/L | <0.92* | <0.9* | <0.91* | <0.9* | <0.96* | <0.95* | <0.91* | <4.7* | <4.6* | <0.91* | <0.95* | <4.7* | <0.86* | <4.6* | <0.92* | <0.9* | <0.97* | <0.95* | <0.91* | <0.92* | <0.94* | <0.9* | <0.92* | <0.94* | <0.93* | <0.94* | <0.89* | <0.94* | <0.9* | <0.89* | <4.6* | <0.93* | <0.95* | <0.95* | <0.92* | <0.96* | <0.92* | <0.91* | <4.6* | <4.6* | <0.88* | <0.89* | <0.91* | <0.97* | <0.9* | <0.97* | <0.94* | <0.8*
NEtFOSA | 4151502 | ng/L | <0.18* | <0.18* | <0.18* | 0.22 B, <0.78**, >0.18 | <0.19* | <0.19* | <0.18* | <0.92* | <0.92* | <0.18* | <0.19* | <0.92* | <0.17* | <0.92* | <0.18* | <0.18* | <0.19* | <0.19* | <0.18* | <0.18* | <0.19* | <0.18* | <0.18* | <0.18* | <0.18* | <0.19* | <0.18* | <0.18* | <0.18* | <0.18* | <0.91* | <0.18* | <0.19* | <0.19* | 0.41 B, <0.8**, >0.18 | 0.19 B, <0.83**, >0.19 | <0.18* | <0.18* | <0.91* | <0.91* | <0.26* | <0.26* | <0.18* | <0.19* | <0.18* | <0.19* | <0.19* | <0.16*
NEtFOSAA | 2991506 | ng/L | 0.82 | 0.46, <0.77**, >0.27 | <0.27* | <0.27* | <0.29* | <0.28* | <0.22* | <1.1* | <1.1* | 0.88 | <0.23* | <1.1* | <0.21* | <1.1* | 2.9 | <0.27* | <0.29* | <0.28* | <0.27* | <0.28* | <0.28* | <0.27* | <0.27* | <0.28* | <0.28* | 0.38, <0.81**, >0.28 | <0.27* | <0.28* | 0.81 | <0.27* | <1.4* | <0.28* | <0.28* | <0.28* | <0.28* | <0.29* | <0.28* | <0.27* | <1.4* | 34 | 4.2 | 5 | <0.27* | 0.61, <0.84**, >0.29 | <0.27* | <0.29* | 0.66, <0.82**, >0.28 | <0.2*
NEtFOSE | 1691992 | ng/L | <0.99* | <0.97* | <0.98* | <0.97* | <1* | <1* | <2.5* | <13* | <13* | <0.98* | <2.6* | <13* | <2.3* | <13* | <0.99* | <0.97* | <1* | <1* | <0.98* | <1* | <1* | <0.98* | <0.99* | <1* | <1* | <1* | <0.96* | <1* | <0.97* | <0.96* | <5* | <1* | <1* | <1* | <1* | <1* | <1* | <0.99* | <5* | <5* | <2.1* | <2.1* | <0.98* | <1* | <0.97* | <1* | <1* | <2.2*
NFDHA | 151772586 | ng/L | <0.31* | <0.3* | <0.31* | <0.31* | <0.33* | <0.32* | <0.87* | <4.5* | <4.4* | <0.31* | <0.91* | <4.5* | <0.82* | <4.4* | <0.31* | <0.3* | <0.33* | <0.32* | <0.31* | <0.31* | <0.32* | <0.31* | <0.31* | <0.32* | <0.32* | <0.32* | <0.3* | <0.32* | <0.31* | <0.3* | <1.6* | <0.32* | <0.32* | <0.32* | <0.31* | <0.33* | <0.31* | <0.31* | <1.6* | <1.6* | <0.73* | <0.74* | <0.31* | <0.33* | <0.31* | <0.33* | <0.32* | <0.77*
NMeFOSA | 31506328 | ng/L | <0.22* | <0.22* | <0.22* | <0.22* | <0.24* | <0.23* | <0.16* | <0.83* | <0.82* | <0.22* | <0.17* | <0.83* | <0.15* | <0.82* | <0.22* | <0.22* | <0.24* | <0.23* | <0.22* | <0.23* | <0.23* | <0.22* | <0.22* | <0.23* | <0.23* | <0.23* | <0.22* | <0.23* | <0.22* | <0.22* | <1.1* | <0.23* | <0.23* | <0.23* | 0.65 B, <0.8**, >0.23 | 0.35 B, <0.83**, >0.24 | <0.23* | <0.22* | <1.1* | <1.1* | <0.35* | <0.35* | <0.22* | <0.24* | <0.22* | <0.24* | <0.23* | <0.14*
NMeFOSAA | 2355319 | ng/L | 1.8 | 1.7 | <0.36* | <0.36* | <0.38* | <0.38* | <0.32* | <1.6* | <1.6* | 20 | 1.4 | <1.6* | 0.97 | <1.6* | 2.4 | 0.7, <0.97**, >0.36 | 0.41, <1**, >0.39 | <0.38* | <0.36* | 1 | <0.37* | 0.65, <0.98**, >0.36 | <0.36* | <0.37* | 0.99, <1**, >0.37 | 0.74, <1**, >0.37 | <0.35* | <0.37* | 1.6 | 0.41, <0.96**, >0.35 | <1.8* | <0.37* | <0.38* | <0.38* | 0.41, <1**, >0.37 | <0.38* | <0.37* | <0.36* | <1.8* | 18 | 3 | 4.8 | <0.36* | 1.2 | <0.36* | <0.38* | 1.3 | 1.1
NMeFOSE | 24448097 | ng/L | <1.2* | <1.1* | <1.1* | <1.1* | <1.2* | <1.2* | <2.6* | <14* | <13* | <1.1* | <2.8* | <14* | <2.5* | <13* | <1.2* | <1.1* | <1.2* | <1.2* | <1.1* | <1.2* | <1.2* | <1.1* | <1.2* | <1.2* | <1.2* | <1.2* | <1.1* | <1.2* | <1.1* | <1.1* | <5.8* | <1.2* | <1.2* | <1.2* | <1.2* | <1.2* | <1.2* | <1.2* | <5.8* | <5.8* | <2.2* | <2.2* | <1.1* | <1.2* | <1.1* | <1.2* | <1.2* | <2.3*
Perfluorobutanesulfonic acid (PFBS) | 375735 | ng/L | 3.7 | 0.79 | <0.14* | 0.7, <0.78**, >0.14 | 7.3 | 5 | 9.1 | 7.9 | 8.7 | 17 | 4.2 | <1.3* | <0.25* | <1.3* | 11 | 1.6 | 18 | 8.6 | 10 | 0.97 | 0.69, <0.81**, >0.15 | 2 | 1 | 3 | 0.74, <0.81**, >0.15 | 0.92 | 6.6 | 0.88 | 4.9 | 3.8 | <0.72* | 57 | 15 | 4.3 | 8.8 | 5.2 | 2.5 | 5 | 7.1 | 210 | 37 | 15 | 12 | 36 | 9.9 | 3.5 | 2.6 | 1.5
Perfluorobutanoic acid (PFBA) | 375224 | ng/L | 4.7 | 1.4, <3.1**, >0.46 | <0.46* | 2.2, <3.1**, >0.46 | 4.7 | 3.8 | 8.2 | <4.6* | <4.6* | 15 | 12 | <4.6* | <0.85* | <4.6* | 7 | 1.9, <3.1**, >0.46 | 6.3 | 5.9 | 4 | 3, <3.2**, >0.47 | 1.1, <3.3**, >0.48 | 2.4, <3.1**, >0.46 | <0.47* | 6.8 | 2.1, <3.2**, >0.47 | 2.6, <3.2**, >0.48 | 4.6 | 0.78, <3.2**, >0.48 | 3.6 | 3.8 | <2.4* | 3.5 | 4.5 | 4.5 | 8 | 3.4 | 6 | 1.2, <3.2**, >0.47 | <2.4* | 490 | 66 | 30 s | 7.3 | 5 | 2.1, <3.1**, >0.46 | 5.6 | 3.7 | <0.79*
Perfluorodecanesulfonic acid (PFDS) | 335773 | ng/L | <0.16* | <0.16* | <0.16* | <0.16* | <0.17* | <0.17* | <0.21* | <1.1* | <1.1* | <0.16* | <0.22* | <1.1* | <0.2* | <1.1* | <0.16* | <0.16* | <0.17* | <0.17* | <0.16* | <0.16* | <0.17* | <0.16* | <0.16* | <0.17* | <0.17* | <0.17* | <0.16* | <0.17* | <0.16* | <0.16* | <0.82* | <0.17* | <0.17* | <0.17* | <0.16* | <0.17* | <0.16* | <0.16* | <0.82* | <0.82* | <0.26* | <0.27* | <0.16* | <0.17* | <0.16* | <0.17* | <0.17* | <0.18*
Perfluorodecanoic acid (PFDA) | 335762 | ng/L | 3.4 | 2.6 | <0.4* | 2.2 | <0.42* | <0.41* | <0.19* | <0.95* | <0.95* | 4.4 | 4.5 | <0.95* | 4.6 | <0.95* | 2.8 | 1, <1.5**, >0.39 | 2.6 | <0.41* | 0.69, <1.6**, >0.4 | 1.9 | <0.41* | 0.77, <1.6**, >0.4 | <0.4* | <0.41* | 1.9 | 1.6 | 4.6 | 0.46, <1.6**, >0.41 | 1.4, <1.6**, >0.39 | 2.2 | <2* | <0.41* | 0.55, <1.6**, >0.41 | 5.3 | 1.7 | 1, <1.7**, >0.42 | 17 | 1, <1.6**, >0.4 | <2* | 68 | 5.4 | 3.5 | <0.4* | 1.7 | 1.2, <1.6**, >0.39 | 1, <1.7**, >0.42 | 1.3, <1.6**, >0.41 | 0.92
Perfluorododecanesulfonic acid (PFDoS) | 79780395 | ng/L | <0.21* | <0.21* | <0.21* | <0.21* | <0.22* | <0.22* | <0.27* | <1.4* | <1.4* | <0.21* | <0.28* | <1.4* | <0.25* | <1.4* | <0.21* | <0.21* | <0.23* | <0.22* | <0.21* | <0.21* | <0.22* | <0.21* | <0.21* | <0.22* | <0.22* | <0.22* | <0.21* | <0.22* | <0.21* | <0.21* | <1.1* | <0.22* | <0.22* | <0.22* | <0.22* | <0.22* | <0.21* | <0.21* | <1.1* | <1.1* | <0.22* | <0.23* | <0.21* | <0.23* | <0.21* | <0.22* | <0.22* | <0.24*
Perfluorododecanoic acid (PFDoA) | 307551 | ng/L | <0.3* | <0.29* | <0.3* | <0.29* | <0.31* | <0.31* | <0.15* | <0.78* | <0.78* | <0.3* | <0.16* | <0.78* | <0.14* | <0.78* | <0.3* | <0.29* | <0.32* | <0.31* | <0.3* | <0.3* | <0.31* | <0.29* | <0.3* | <0.31* | <0.3* | <0.31* | <0.29* | <0.3* | <0.29* | <0.29* | <1.5* | <0.3* | <0.31* | <0.31* | <0.3* | <0.31* | <0.3* | <0.3* | <1.5* | <1.5* | <0.22* | <0.22* | <0.3* | <0.31* | <0.29* | <0.31* | <0.31* | <0.13*
Perfluoroheptanesulfonic acid (PFHpS) | 375928 | ng/L | <0.2* | <0.19* | <0.19* | <0.19* | <0.21* | 1.5 | <0.2* | <1* | <1* | 0.27, <0.79**, >0.19 | <0.21* | <1* | <0.19* | <1* | 0.37 i, <0.79**, >0.2 | <0.19* | <0.21* | <0.2* | <0.19* | <0.2* | <0.2* | <0.19* | <0.2* | <0.2* | <0.2* | <0.2* | <0.19* | <0.2* | 0.22, <0.78**, >0.19 | <0.19* | <0.99* | <0.2* | <0.2* | <0.2* | <0.2* | 0.22, <0.83**, >0.21 | <0.2* | <0.2* | <0.99* | 1.8, <4**, >0.99 | <0.26* | <0.26* | <0.19* | <0.21* | <0.19* | <0.21* | <0.2* | <0.18*
Perfluoroheptanoic acid (PFHpA) | 375859 | ng/L | 2.5 | 0.58, <0.77**, >0.24 | <0.25* | <0.24* | 1.3 | 1.5 | 3.6 | <0.59* | <0.58* | 11 | 4.9 | <0.59* | 2.4 | <0.58* | 4.5 | 0.78 | 4.3 | 3.4 | 1.7 | 1.4 | 0.75, <0.81**, >0.25 | 0.85 | 0.62, <0.79**, >0.25 | 3 | 1.3 | 1.5 | 3.2 | 0.41, <0.81**, >0.25 | 1.6 | 4.9 | <1.3* | 1.2 | 1.2 | 3 | 1.5 | 1.7 | 2.8 | 0.62, <0.79**, >0.25 | <1.3* | 260 | 32 | 3.9 | 3 | 1.3 | 1.6 | 3.7 | 1.4 | <0.1*
Perfluorohexanesulfonic acid (PFHxS) | 355464 | ng/L | 3 | 0.78 i | <0.19* | 0.87 i | 1.3 | 10 | 5.2 | <0.95* | <0.95* | 3.3 | <0.19* | <0.95* | <0.18* | <0.95* | 3.2 | 1.3 i | 1.5 | 1.5 i | 5 | <0.2* | 0.9 i | 1.9 i | <0.19* | 8.9 | 1.2 i | 1.1 | 1.7 i | <0.2* | 1.4 | 0.88 i | <0.98* | 1.7 | 1.9 | <0.2* | 2.7 | 9.7 | 1 i | <0.19* | <0.98* | 63 | 8 | 3 | 2.5 | <0.21* | <0.19* | 4.8 | 0.6, <0.82**, >0.2 | <0.16*
Perfluorohexanoic acid (PFHxA) | 307244 | ng/L | 57 | 9.9 | <0.22* | 14 | 17 | 19 | 14 | <0.72* | <0.71* | 66 | 290 | 11 | 58 | 5.2 | 29 | 10 | 32 | 23 | 15 | 18 | 14 | 19 | 6.6 | 33 | 13 | 14 | 21 | 8 | 11 | 13 | 6.9 | 4.3 | 16 | 30 | 32 | 13 | 23 | 11 | 6 | 770 | 100 | 11 | 21 | 21 | 15 | 13 | 26 | 12
Perfluorononanesulfonic acid (PFNS) | 68259121 | ng/L | <0.2* | <0.19* | <0.2* | <0.2* | <0.21* | <0.21* | <0.19* | <0.96* | <0.96* | <0.2* | <0.2* | <0.96* | <0.18* | <0.96* | <0.2* | <0.19* | <0.21* | <0.21* | <0.2* | <0.2* | <0.2* | <0.2* | <0.2* | <0.2* | <0.2* | <0.2* | <0.19* | <0.2* | <0.2* | <0.19* | <1* | <0.2* | <0.21* | <0.21* | <0.2* | <0.21* | <0.2* | <0.2* | <1* | <1* | <0.25* | <0.25* | <0.2* | <0.21* | <0.2* | <0.21* | <0.2* | <0.17*
Perfluorononanoic acid (PFNA) | 375951 | ng/L | 1.3 | 0.33, <0.97**, >0.32 | <0.32* | 0.56, <0.97**, >0.32 | 0.86, <1**, >0.34 | 0.59, <1**, >0.34 | 1.1 | 19 | <0.98* | 1.7 | 1.2 | <0.98* | 0.97 | <0.98* | 1.2 | 0.33, <0.97**, >0.32 | 0.96, <1**, >0.34 | 0.42, <1**, >0.34 | 0.87, <0.98**, >0.32 | 0.71, <1**, >0.33 | <0.33* | 0.56, <0.98**, >0.32 | <0.33* | 0.44, <1**, >0.33 | 0.61, <1**, >0.33 | 0.64, <1**, >0.33 | 0.91, <0.96**, >0.32 | <0.33* | 0.8, <0.97**, >0.32 | 0.66, <0.96**, >0.32 | <1.6* | 0.62, <1**, >0.33 | 0.35, <1**, >0.34 | 0.64, <1**, >0.34 | 0.8, <1**, >0.33 | <0.34* | 2 | <0.32* | <1.6* | 65 | 10 | 2.2 | 0.4, <0.98**, >0.32 | 0.57, <1**, >0.34 | <0.32* | 1 | 1 | <0.17*
Perfluorooctanesulfonamide (PFOSA) | 754916 | ng/L | 0.33 i, <0.79**, >0.17 | <0.17* | 0.51, <0.78**, >0.17 | 0.25 i, <0.78**, >0.17 | <0.18* | <0.18* | <0.31* | <1.6* | <1.6* | 0.73, <0.79**, >0.17 | <0.32* | <1.6* | <0.29* | <1.6* | <0.17* | <0.17* | <0.18* | <0.18* | <0.17* | <0.17* | <0.18* | <0.17* | <0.17* | <0.18* | <0.17* | <0.18* | <0.17* | <0.17* | <0.17* | <0.17* | <0.87* | <0.17* | <0.18* | <0.18* | <0.17* | <0.18* | <0.17* | <0.17* | <0.87* | 7.3 | 2.7 | 2.6 | 0.27, <0.78**, >0.17 | <0.18* | <0.17* | <0.18* | <0.18* | <0.27*
Perfluorooctanesulfonic acid (PFOS) | 1763231 | ng/L | 5.6 | 3.4 | <0.22* | 2 | 2.4 | 110 | 28 | 38 | 48 | 7.4 | 3.1 | <1.6* | 1 | <1.6* | 14 | 2.4 | 2.3 | 1.8 | <0.22* | 3.1 | 0.85 | 2.5 | <0.22* | 5.6 i | 2.2 | 3.7 | 1.8 | 1.1 | 5.5 | 1.4 | 1.4, <4**, >1.1 | 9 | 2.5 | 0.84 | 7.8 | 4.9 | 3 | 1.5 | <1.1* | 220 | 27 | 8.5 | 2.5 | 5.5 | 1.3 | 4.2 | 2.3 | 1.6
Perfluorooctanoic acid (PFOA) | 335671 | ng/L | 31 | 8.8 | 0.43, <0.78**, >0.18 | 9.9 | 13 | 8.5 | 12 | 8.4 | 7.7 | 49 | 41 | <1.1* | 35 | <1.1* | 37 | 5.2 | 55 | 9.7 | 8.7 | 10 | 6.6 | 12 | 2.7 | 19 | 13 | 13 | 34 | 3.6 | 12 | 6.8 | 2.2, <4**, >0.92 | 4.8 | 8.9 | 46 | 8.6 | 16 | 21 | 5.2 | 3.4, <4**, >0.92 | 560 | 72 | 11 | 16 | 14 | 16 | 14 | 9.4 | 6
Perfluoropentanesulfonic acid (PFPeS) | 2706914 | ng/L | <0.17* | <0.17* | <0.17* | <0.17* | <0.18* | 0.54, <0.82**, >0.18 | <0.21* | <1.1* | <1.1* | 0.56, <0.79**, >0.17 | <0.22* | <1.1* | <0.2* | <1.1* | <0.17* | <0.17* | <0.18* | <0.18* | 0.94 | <0.18* | <0.18* | <0.17* | <0.17* | 0.9 | <0.18* | 0.2, <0.81**, >0.18 | <0.17* | <0.18* | <0.17* | <0.17* | <0.88* | 0.28, <0.81**, >0.18 | <0.18* | <0.18* | <0.18* | 0.78, <0.83**, >0.18 | <0.18* | <0.17* | <0.88* | 7.7 | 1 | <0.2* | 0.22, <0.78**, >0.17 | 0.26, <0.84**, >0.18 | <0.17* | 0.46, <0.83**, >0.18 | <0.18* | <0.18*
Perfluoropentanoic acid (PFPeA) | 2706903 | ng/L | 38 | 13 | <0.27* | 29 | 41 | 30 | 13 | 99 | 150 | 110 | 410 | <1.6* | 37 | <1.6* | 60 | 16 | 88 | 43 | 42 | 21 | 2.3 | 26 | <0.27* | 27 | 15 | 29 | 45 | 11 | 9.3 | 25 | <1.4* | 13 | 50 | 53 | 39 | 34 | 25 | 25 | <1.4* | 350 | 54 | 6.5 | 40 | 30 | 34 | 21 | 22 | 18
Perfluorotetradecanoic acid (PFTeDA) | 376067 | ng/L | <0.27* | <0.27* | <0.27* | <0.27* | <0.29* | <0.28* | <0.24* | <1.3* | <1.2* | <0.27* | <0.26* | <1.3* | <0.23* | <1.3* | <0.27* | <0.27* | <0.29* | <0.28* | <0.27* | <0.28* | <0.28* | <0.27* | <0.27* | <0.28* | <0.28* | <0.28* | <0.27* | <0.28* | <0.27* | <0.27* | <1.4* | <0.28* | <0.28* | <0.28* | <0.28* | <0.29* | <0.28* | <0.27* | <1.4* | <1.4* | <0.21* | <0.21* | <0.27* | <0.29* | <0.27* | <0.29* | <0.28* | <0.22*
Perfluorotridecanoic acid (PFTrDA) | 72629948 | ng/L | <0.24* | <0.23* | <0.23* | <0.23* | <0.25* | <0.24* | <0.25* | <1.3* | <1.3* | <0.24* | <0.27* | <1.3* | <0.24* | <1.3* | <0.24* | <0.23* | <0.25* | <0.24* | <0.24* | <0.24* | <0.24* | <0.23* | <0.24* | <0.24* | <0.24* | <0.24* | <0.23* | <0.24* | <0.23* | <0.23* | <1.2* | <0.24* | <0.24* | <0.25* | <0.24* | <0.25* | <0.24* | <0.24* | <1.2* | <1.2* | <0.23* | <0.23* | <0.23* | <0.25* | <0.23* | <0.25* | <0.24* | <0.22*
Perfluoroundecanoic acid (PFUnA) | 2058948 | ng/L | <0.3* | <0.3* | <0.3* | <0.3* | <0.32* | <0.31* | <0.23* | <1.2* | <1.2* | <0.3* | <0.25* | <1.2* | <0.22* | <1.2* | <0.3* | <0.3* | <0.32* | <0.31* | <0.3* | <0.3* | <0.31* | <0.3* | <0.3* | <0.31* | <0.31* | <0.31* | <0.29* | <0.31* | <0.3* | <0.29* | <1.5* | <0.31* | <0.31* | <0.31* | <0.3* | <0.32* | 0.32, <0.8**, >0.3 | <0.3* | <1.5* | 3.4, <4**, >1.5 | <0.23* | <0.23* | <0.3* | <0.32* | <0.3* | <0.32* | <0.31* | <0.21*
PFEESA | 113507827 | ng/L | <0.36* | <0.35* | <0.36* | <0.36* | <0.38* | <0.37* | <0.49* | <2.5* | <2.5* | <0.36* | <0.51* | <2.5* | <0.47* | <2.5* | <0.36* | <0.35* | <0.38* | <0.37* | <0.36* | <0.36* | <0.37* | <0.36* | <0.36* | <0.37* | <0.37* | <0.37* | <0.35* | <0.37* | <0.36* | <0.35* | <1.8* | <0.37* | <0.37* | <0.38* | <0.37* | <0.38* | <0.36* | <0.36* | <1.8* | <1.8* | <0.41* | <0.42* | <0.36* | <0.38* | <0.36* | <0.38* | <0.37* | <0.43*
PFMBA | 863090895 | ng/L | <0.3* | <0.29* | <0.3* | <0.3* | <0.32* | <0.31* | <0.4* | <2.1* | <2.1* | <0.3* | <0.42* | <2.1* | <0.38* | <2.1* | <0.3* | <0.29* | <0.32* | <0.31* | <0.3* | <0.3* | <0.31* | <0.3* | <0.3* | <0.31* | <0.31* | <0.31* | <0.29* | <0.31* | <0.3* | <0.29* | <1.5* | <0.31* | <0.31* | <0.31* | <0.3* | <0.32* | <0.3* | <0.3* | <1.5* | <1.5* | <0.34* | <0.34* | <0.3* | <0.32* | <0.3* | <0.32* | <0.31* | <0.36*
PFMPA | 377731 | ng/L | <0.29* | <0.28* | <0.28* | <0.28* | <0.3* | <0.3* | <0.29* | <1.5* | <1.5* | <0.28* | <0.3* | <1.5* | <0.27* | <1.5* | <0.29* | <0.28* | <0.3* | <0.3* | <0.28* | <0.29* | <0.29* | <0.28* | <0.29* | <0.29* | <0.29* | <0.29* | <0.28* | <0.29* | <0.28* | <0.28* | <1.4* | <0.29* | <0.3* | <0.3* | <0.29* | <0.3* | <0.29* | <0.29* | <1.4* | <1.4* | <0.42* | <0.42* | <0.28* | <0.3* | <0.28* | <0.3* | <0.29* | <0.25*
Total |  | ng/L | 152.82 | 40.19 | 0 | 57.1 | 88 | 210.3 | 105.2 | 204.3 | 287.4 | 305.68 | 772.3 | 11 | 139.94 | 5.2 | 175 | 35.98 | 210 | 95.4 | 87.34 | 57.37 | 23.75 | 62.35 | 10.3 | 101.6 | 46.4 | 64.82 | 120.8 | 24.58 | 51.71 | 60.9 | 6.9 | 94.5 | 100 | 146.94 | 114.3 | 87.9 | 102.3 | 47.7 | 13.1 | 3123 | 422.3 | 77 | 104.3 | 115.7 | 77.8 | 70.8 | 69.7 | 41.12
Adsorbable Organic Fluorine (AOF) |  | µg/L | [6 empty] | 20 | 160, <200**, >100 | 210 |  | 13 | 110 | 14 | 250 | [26 empty] | 14 | 130 | [5 empty] | 21
Adsorbable Organic Fluorine (AOF) |  | ng/L | [6 empty] | 20000 | 160000, <200k**, >100k | 210000 |  | 13000 | 110000 | 14000 | 250000 | [26 empty] | 14000 | 130000 | [5 empty] | 21000
ng/L = ppt, parts per trillion
* < MDL
** <RL, and ≥MDL
i transition mass ratio was above established ratio limits. Value may have bias. BPJ used for ID
B Compound was found in the method blank and sample
s Duplicate analysis confirmed Extracted Internal Standard failure due to matrix effects

## Biosolids Results
Reported on a dry-weight basis |  |  | American Gulch | Casa Grande | Nogales (U.S. IBWC) | Nogales (U.S. IBWC) | Saddlebrooke | SaddleBrooke | SaddleBrooke Ranch | Superstition Mts | Central Buckeye | Cottonwood | Wildcat Hill | Wildcat Hill | Valle Airpark | Town of Marana | Tres Rios | Goodyear 157th | Rainbow Valley | Somerton | Quartzsite | Winkelman | Globe - Pinal Creek | Festival Ranch | COP 91st Ave | Bullhead City | El Mirage | Tolleson | Bisbee - San Jose | Global Water - Palo Verde | Litchfield Park Palm Valley | Sierra Vista | Prescott Airport | Alpine
|  |  | Class B | Unknown | Class B | Biosolids | Unknown | Biosolids | Sludge | Unknown | Unknown | Class B | Class B | Class B | Class C | Class C | ? | [14 empty] | Biosolids | Biosolids | Sludge Pond 3
|  | (ppb) | 84.9% Water | 91.4% Water | 87.1% Water | 84.7% Water | 85.9% Water | 86.8% Water | 98.9% Water | 1.8% Water | 82% Water | 82.4% Water | 97.6% Water | 80.6% Water | 14.5% Water | 82.2% Water | 81.1% Water | 84.5% Water | 86.1% Water | 89.4% Water | 4.3% Water | 26% Water | 3.2% Water | 86.1% Water | 81.3% Water | 85.7% Water | 85.9% Water | 72% Water | 73.9% Water | 83% Water | 80.7% Water | 33.1% Water | 79.4% Water | 25.6% Water
Component | CAS | Units | GVW-3 | CG2 | NG2 | 23C0056-04RE1 | SB3 | 23B0731-05 | 23B0726-04 | SM3 | CB-3 | CoC-3 | WH-3 | L1615200-01 | VA-3 | TM2 | Dewatered Cake Biosolids | COG-3 | RV-3 | COS-3 | TOQ-3 | WM-3 | COG-3 | FR-WRF #3 | COP-91ST AVE WWTP #3 | BC-WWTP #3 | COE-WRF#3 | COT-WWTP #3 | BB3 | GWPVUC-3 | PV-3 | 23B0691-5 | 23A2946-1 | 23D2186-01
11Cl-PF3OUdS | 763051929 | ug/Kg | <16* | <29* | <19* | <1.1* | <17* | <1* | <9.7* | <2.7* | <15* | <16* | <110* | <1.1* | <3.2* | <16* | <14* | <17* | <20* | <24* | <2.6* | <3.7* | <2.8* | <18* | <13* | <20* | <18* | <9.9* | <11* | <15* | <12* | <1* | <1* | <1.1*
3:3 FTCA | 356025 | ug/Kg | <16* | <29* | <19* | <1.7* | <17* | <1.7* | <16* | <2.7* | <15* | <16* | <73* | <1.7* | <3.2* | <16* | <14* | <17* | <20* | <24* | <2.6* | <3.7* | <2.8* | <18* | <13* | <20* | <18* | <9.9* | <11* | <15* | <12* | <1.6* | <1.7* | <1.7*
4,8-Dioxa-3H-perfluorononanoic acid (ADONA) | 919005144 | ug/Kg | <11* | <19* | <12* | <0.82* | <11* | <0.81* | <6.9* | <1.7* | <9.7* | <11* | <120* | <0.82* | <2.1* | <11* | <9.4* | <11* | <13* | <16* | <1.7* | <2.5* | <1.9* | <12* | <8.4* | <13* | <12* | <6.5* | <7* | <9.6* | <8.2* | <0.78* | <0.79* | <0.81*
4:2 FTS | 757124724 | ug/Kg | <18* | <32* | <21* | <0.38* | <19* | <0.38* | <7* | <2.9* | <16* | <18* | <290* | <0.38* | <3.5* | <18* | <16* | <18* | <22* | <27* | <2.9* | <4.1* | <3.1* | <19* | <14* | <22* | <20* | <11* | <12* | <16* | <14* | <0.37* | <0.37* | <0.38*
5:3 FTCA | 914637493 | ug/Kg | <42* | <75* | <49* | <12* | <45* | 140 | <100* | 18, <46**, >6.9 | <38* | <43* | <55* | <12* | 14, <55**, >8.3 | <42* | <37* | <43* | <52* | <63* | <6.9* | <9.7* | 8.9, <50**, >7.4 | <46* | 97, <220**, >33 | <52* | <47* | <26* | <28* | <38* | <32* | <11* | <12* | <12*
6:2 FTS | 27619972 | ug/Kg | <8.1* | <14* | <9.4* | <0.83* | <8.7* | <0.82* | <9.4* | <1.3* | <7.4* | <8.2* | <390* | <0.83* | <1.6* | <8.1* | <7.2* | <8.3* | <10* | <12* | <1.3* | <1.9* | <1.4* | <8.8* | <6.4* | <10* | <9.1* | <4.9* | <5.3* | <7.3* | <6.2* | <0.79* | <0.8* | <0.82*
7:3 FTCA | 812704 | ug/Kg | <56* | <100* | <65* | <9.4* | <60* | 130 | <80* | 15, <46**, >9.3 | <51* | <57* | <42* | <9.3* | <11* | <56* | <50* | <58* | <69* | <84* | <9.2* | <13* | <9.9* | <61* | <45* | <70* | <63* | <34* | <37* | <51* | <43* | <9* | <9.1* | <9.3*
8:2 FTS | 39108344 | ug/Kg | <6* | <11* | <7.1* | <0.36* | <6.5* | <0.36* | <11* | <1* | <5.5* | <6.1* | <42* | <0.36* | <1.2* | <6.1* | <5.4* | <6.2* | <7.5* | <9.1* | <0.99* | <1.4* | <1.1* | <6.6* | <4.8* | <7.5* | <6.9* | <3.7* | <4* | <5.5* | <4.7* | <0.35* | <0.35* | <0.36*
9Cl-PF3ONS | 756426581 | ug/Kg | <13* | <24* | <16* | <0.78* | <14* | <0.77* | <8.5* | <2.2* | <12* | <14* | <92* | <0.78* | <2.6* | <13* | <12* | <14* | <17* | <20* | <2.2* | <3.1* | <2.4* | <15* | <11* | <17* | <15* | <8.2* | <8.8* | <12* | <10* | <0.74* | <0.76* | <0.77*
HFPO-DA (GenX) | 13252136 | ug/Kg | <12* | <22* | <14* | <0.49* | <13* | <0.49* | <9.1* | <2* | <11* | <12* | <84* | <0.49* | <2.4* | <12* | <11* | <13* | <15* | <18* | <2* | <2.8* | <2.2* | <13* | <9.7* | <15* | <14* | <7.5* | <8* | <11* | <9.4* | <0.47* | <0.48* | <0.49*
NEtFOSA | 4151502 | ug/Kg | <2.9* | <5.1* | <3.4* | <0.14* | <3.1* | <0.14* | <1.8* | <0.48* | <2.6* | <2.9* | <20* | <0.14* | <0.57* | <2.9* | <2.6* | <3* | <3.6* | <4.3* | <0.47* | <0.67* | <0.51* | <3.1* | <2.3* | <3.6* | <3.3* | <1.8* | <1.9* | <2.6* | <2.2* | <0.14* | <0.14* | <0.14*
NEtFOSAA | 2991506 | ug/Kg | 9.7, <11**, >3 | <5.4* | <3.5* | 3.8 | 29 | 9 | <2.2* | 27 | <2.8* | 6.4, <11**, >3.1 | <21* | 3 | 3.9 | <3* | 7.7, <10**, >2.7 | 4.1, <12**, >3.1 | <3.8* | <4.5* | 4.4 | 2.1, <2.6**, >0.7 | 0.71, <2**, >0.54 | <3.3* | 3.4, <8.9**, >2.4 | 9, <14**, >3.8 | 3.4, <13**, >3.4 | <1.9* | 11 | 4.2, <10**, >2.7 | 3.3, <8.6**, >2.3 | 4.8 | 7.6 | <0.42*
NEtFOSE | 1691992 | ug/Kg | <14* | <25* | <16* | <1.6* | <15* | <1.6* | <25* | <2.3* | <13* | <14* | <96* | <1.6* | <2.8* | <14* | <12* | <14* | <17* | <21* | <2.3* | <3.2* | <2.5* | <15* | <11* | <17* | <16* | <8.6* | <9.2* | <13* | <11* | <1.6* | <1.6* | <1.6*
NFDHA | 151772586 | ug/Kg | <6.4* | <11* | <7.5* | <0.35* | <6.9* | <0.35* | <8.7* | <1.1* | <5.9* | <6.5* | <44* | <0.35* | <1.3* | <6.4* | <5.7* | <6.6* | <7.9* | <9.6* | <1* | <1.5* | <1.1* | <7* | <5.1* | <8* | <7.2* | <3.9* | <4.2* | <5.8* | <4.9* | <0.34* | <0.34* | <0.35*
NMeFOSA | 31506328 | ug/Kg | <5.2* | <9.3* | <6.1* | <0.19* | <5.6* | <0.19* | <1.6* | <0.86* | <4.8* | <5.3* | <36* | <0.19* | <1* | <5.2* | <4.7* | <5.4* | <6.5* | <7.8* | <0.86* | <1.2* | <0.93* | <5.7* | <4.2* | <6.5* | <5.9* | <3.2* | <3.4* | <4.7* | <4* | <0.18* | <0.19* | <0.19*
NMeFOSAA | 2355319 | ug/Kg | 20, <22**, >5.7 | <10* | <6.6* | 5.3 | 15, <24**, >6.1 | 14 | <3.2* | 24 | 6, <21**, >5.2 | 6.6, <23**, >5.7 | <39* | 7.6 | 4.1, <4.4**, >1.1 | <5.7* | 11, <20**, >5 | <5.8* | <7* | <8.5* | 6 | 4.9, <5.2**, >1.3 | 1.4, <4**, >1 | <6.2* | 4.8, <18**, >4.5 | 7.2, <28**, >7.1 | <6.4* | 4.5, <14**, >3.5 | 5.2, <15**, >3.7 | <5.1* | <4.4* | <0.27* | 7.8 | <0.28*
NMeFOSE | 24448097 | ug/Kg | <22* | <40* | <26* | <0.95* | <24* | <0.94* | <26* | 4, <19**, >3.7 | <21* | <23* | <150* | <0.95* | <4.4* | <22* | <20* | <23* | <28* | <34* | <3.7* | <5.2* | <4* | <24* | <18* | <28* | <25* | <14* | <15* | <20* | <17* | <0.91* | <0.92* | <0.94*
Perfluorobutanesulfonic acid (PFBS) | 375735 | ug/Kg | <1.7* | <3* | <2* | <0.14* | 7.7, <12**, >1.8 | 5 | 22 | 1.2, <1.9**, >0.28 | <1.5* | <1.7* | <12* | <0.14* | <0.33* | <1.7* | <1.5* | <1.7* | <2.1* | <2.5* | 3.4 | 2.1, <2.6**, >0.39 | 1.2, <2**, >0.3 | 1.9, <12**, >1.8 | <1.3* | <2.1* | <1.9* | <1* | 2.8, <7.4**, >1.1 | 13 | <1.3* | 14 | <0.14* | <0.14*
Perfluorobutanoic acid (PFBA) | 375224 | ug/Kg | <7.8* | <14* | <9.2* | <1.4* | <8.4* | <1.4* | <9* | <1.3* | <7.2* | <8* | <54* | <1.4* | <1.5* | <7.9* | <7* | <8.1* | <9.7* | <12* | <1.3* | <1.8* | <1.4* | <8.6* | <6.2* | <9.8* | <8.9* | <4.8* | <5.2* | <7.1* | <6* | <1.3* | <1.3* | <1.4*
Perfluorodecanesulfonic acid (PFDS) | 335773 | ug/Kg | <3.2* | <5.7* | <3.7* | <0.17* | <3.4* | <0.17* | <2.1* | 3.6 | <2.9* | <3.2* | <22* | <0.17* | <0.63* | <3.2* | <2.8* | <3.3* | <4* | <4.8* | <0.52* | <0.74* | <0.57* | <3.5* | <2.5* | <4* | <3.6* | <2* | 3.7, <7.4**, >2.1 | <2.9* | <2.5* | <0.16* | <0.17* | <0.17*
Perfluorodecanoic acid (PFDA) | 335762 | ug/Kg | 16, <22**, >7.2 | <13* | <8.4* | 7.4 | 82 | 63 | 13 | 11 | 6.7 i, <21**, >6.6 | 15, <23**, >7.3 | <49* | 2.1 | 4.3, <4.4**, >1.4 | 22 | 14, <20**, >6.4 | 14, <23**, >7.4 | 28 | <11* | 4.6 | 2.9, <5.2**, >1.7 | 2.5, <4**, >1.3 | 63 | <5.7* | 20, <28**, >8.9 | 12, <25**, >8.1 | <4.4* | 13, <15**, >4.7 | 37 | 8.3, <17**, >5.5 | 3.3 | 12 | <0.16*
Perfluorododecanesulfonic acid (PFDoS) | 79780395 | ug/Kg | <3.3* | <5.9* | <3.9* | <0.18* | <3.5* | <0.18* | <2.7* | <0.55* | <3* | <3.4* | <23* | <0.18* | <0.65* | <3.3* | <2.9* | <3.4* | <4.1* | <4.9* | <0.54* | <0.77* | <0.59* | <3.6* | <2.6* | <4.1* | <3.7* | <2* | <2.2* | <3* | <2.5* | <0.17* | <0.18* | <0.18*
Perfluorododecanoic acid (PFDoA) | 307551 | ug/Kg | <6.2* | <11* | <7.2* | 2.4 | 20, <24**, >6.6 | 21 | <1.5* | 4 | <5.7* | <6.3* | <42* | <0.16* | <1.2* | <6.2* | <5.5* | <6.3* | <7.6* | <9.2* | 1.4, <3.7**, >1 | <1.4* | <1.1* | 15, <24**, >6.7 | <4.9* | <7.7* | <7* | <3.8* | <4.1* | 8.6, <20**, >5.6 | <4.7* | <0.15* | 2.5 | <0.16*
Perfluoroheptanesulfonic acid (PFHpS) | 375928 | ug/Kg | <2.4* | <4.3* | <2.8* | <0.17* | <2.6* | <0.17* | <2* | <0.4* | <2.2* | <2.4* | <16* | <0.17* | <0.47* | <2.4* | <2.1* | <2.5* | <3* | <3.6* | <0.39* | <0.55* | <0.42* | <2.6* | <1.9* | <3* | <2.7* | <1.5* | <1.6* | <2.2* | <1.8* | <0.16* | <0.17* | <0.17*
Perfluoroheptanoic acid (PFHpA) | 375859 | ug/Kg | <2.4* | <4.3* | <2.8* | <0.15* | 5.7, <12**, >2.6 | 3.7 | 15 | <0.4* | <2.2* | <2.4* | <17* | <0.15* | <0.47* | <2.4* | <2.1* | <2.5* | <3* | <3.6* | <0.39* | 0.71, <2.6**, >0.56 | <0.43* | <2.6* | <1.9* | <3* | <2.7* | <1.5* | <1.6* | 2.2, <10**, >2.2 | <1.9* | <0.14* | <0.15* | <0.15*
Perfluorohexanesulfonic acid (PFHxS) | 355464 | ug/Kg | <1.4* | <2.5* | <1.6* | <0.25* | <1.5* | <0.25* | <1.8* | <0.23* | <1.3* | <1.4* | <9.6* | <0.25* | <0.28* | <1.4* | <1.2* | <1.4* | <1.7* | <2.1* | <0.23* | 0.61, <2.6**, >0.32 | <0.25* | <1.5* | <1.1* | <1.7* | <1.6* | <0.86* | <0.92* | <1.3* | 2 i, <8.6**, >1.1 | <0.24* | <0.25* | <0.25*
Perfluorohexanoic acid (PFHxA) | 307244 | ug/Kg | <3.2* | <5.8* | <3.8* | 2.5 | 15 | 12 | 170 | 3.1 | <3* | 7.4, <11**, >3.3 | <22* | 2.2 | 1.5, <2.2**, >0.64 | 4.4, <11**, >3.3 | <2.9* | <3.3* | <4* | <4.9* | 1.8 | 2.2, <2.6**, >0.75 | 1.6, <2**, >0.58 | 4.3, <12**, >3.5 | <2.6* | <4.1* | <3.7* | <2* | 4.1, <7.4**, >2.1 | 17 | <2.5* | 8.8 | <0.098* | <0.1*
Perfluorononanesulfonic acid (PFNS) | 68259121 | ug/Kg | <3.5* | <6.3* | <4.1* | <0.3* | <3.8* | <0.3* | <1.9* | <0.58* | <3.2* | <3.6* | <24* | <0.30* | <0.7* | <3.5* | <3.2* | <3.6* | <4.4* | <5.3* | <0.58* | <0.82* | <0.63* | <3.9* | <2.8* | <4.4* | <4* | <2.2* | <2.3* | <3.2* | <2.7* | <0.29* | <0.29* | <0.3*
Perfluorononanoic acid (PFNA) | 375951 | ug/Kg | <2.9* | <5.2* | <3.4* | <0.26* | 5.7, <12**, >3.1 | 4.2 | <1.9* | 0.54, <1.9**, >0.48 | <2.7* | <3* | <20* | <0.26* | <0.58* | <2.9* | <2.6* | <3* | <3.6* | <4.4* | 0.52, <1.8**, >0.48 | <0.68* | <0.52* | <3.2* | <2.3* | <3.7* | <3.3* | <1.8* | 3.5, <7.4**, >1.9 | <2.7* | <2.3* | <0.25* | <0.25* | <0.26*
Perfluorooctanesulfonamide (FOSA) | 754916 | ug/Kg | <5.5* | <9.8* | <6.4* | 7.8 | <5.9* | 2.7 | 37 | 2.1, <3.7**, >0.9 | <5* | <5.6* | <38* | <0.091* | <1.1* | <5.5* | <4.9* | <5.6* | <6.8* | <8.2* | 0.99, <3.7**, >0.9 | <1.3* | <0.97* | <6* | <4.4* | <6.8* | <6.2* | <3.4* | <3.6* | <5* | <4.2* | <0.087* | <0.088* | <0.09*
Perfluorooctanesulfonic acid (PFOS) | 1763231 | ug/Kg | 22 | 8.7, <20**, >4.1 | 710 | 280 | 46 | 25 | <3.2* | 13 | <2.1* | 14 | <16* | 3.7 | 5.4 | 20 | 7.2, <10**, >2.1 | 11, <12**, >2.4 | 6.4, <14**, >2.9 | 8.1 i, <17**, >3.5 | 6.7 | 9.5 | 3.5 | 7.4, <12**, >2.5 | 8, <8.9**, >1.8 | 27 | 16 | 1.9, <6.9**, >1.4 | 32 | 12 | 7.8, <8.6**, >1.8 | 4.8 | 37 | <0.16*
Perfluorooctanoic acid (PFOA) | 335671 | ug/Kg | 4.6, <11**, >2.5 | <4.5* | <3* | 4.3 | 63 | 47 | 180 | 4.1 | <2.3* | 7.8, <11**, >2.6 | <17* | <0.29* | 2.2 | 10, <11**, >2.5 | 2.5, <10**, >2.3 | 3.1, <12**, >2.6 | 7.4, <14**, >3.1 | <3.8* | 3.6 | 3.3 | 1.9, <2**, >0.45 | 24 | <2* | 6.4, <14**, >3.2 | 3.2, <13**, >2.9 | <1.6* | 10 | 26 | 3.9, <8.6**, >2 | 3.2 | 6.8 | <0.29*
Perfluoropentanesulfonic acid (PFPeS) | 2706914 | ug/Kg | <1.4* | <2.5* | <1.7* | <0.2* | <1.5* | <0.2* | <2.1* | <0.24* | <1.3* | <1.4* | <9.8* | <0.20* | <0.28* | <1.4* | <1.3* | <1.5* | <1.8* | <2.1* | <0.23* | <0.33* | <0.25* | <1.6* | <1.1* | <1.8* | <1.6* | <0.87* | <0.94* | <1.3* | <1.1* | <0.19* | <0.2* | <0.2*
Perfluoropentanoic acid (PFPeA) | 2706903 | ug/Kg | <4* | <7.1* | <4.7* | <0.19* | 15, <24**, >4.3 | 17 | 210 | 3.4, <3.7**, >0.66 | <3.7* | <4.1* | <28* | <0.19* | <0.79* | <4* | <3.6* | <4.1* | <5* | <6* | <0.66* | <0.93* | <0.71* | <4.4* | <3.2* | <5* | <4.5* | <2.5* | 3.3, <15**, >2.6 | 15, <20**, >3.6 | <3.1* | 4.1 r | <0.19* | <0.19*
Perfluorotetradecanoic acid (PFTeDA) | 376067 | ug/Kg | <3.1* | <5.6* | <3.7* | <0.13* | 5.6, <12**, >3.4 | 5.5 | <2.4* | 1.2, <1.9**, >0.52 | <2.9* | <3.2* | <22* | <0.13* | <0.62* | <3.2* | <2.8* | <3.2* | <3.9* | <4.7* | 0.71, <1.8**, >0.52 | <0.73* | <0.56* | 4.2, <12**, >3.4 | <2.5* | <3.9* | <3.6* | <1.9* | <2.1* | 3, <10**, >2.9 | <2.4* | <0.13* | <0.13* | <0.13*
Perfluorotridecanoic acid (PFTrDA) | 72629948 | ug/Kg | <2.3* | <4* | <2.6* | <0.27* | <2.4* | <0.27* | <2.5* | 0.74, <1.9**, >0.37 | <2.1* | <2.3* | <16* | <0.27* | <0.44* | <2.3* | <2* | <2.3* | <2.8* | <3.4* | <0.37* | <0.52* | <0.4* | <2.5* | <1.8* | <2.8* | <2.6* | <1.4* | <1.5* | <2* | <1.7* | <0.26* | <0.26* | <0.27*
Perfluoroundecanoic acid (PFUnA) | 2058948 | ug/Kg | <5.7* | <10* | <6.7* | 2.8 | <6.1* | 3.4 | <2.3* | 0.97, <3.7**, >0.94 | <5.2* | <5.8* | <39* | <0.14* | <1.1* | <5.7* | <5.1* | <5.9* | <7.1* | <8.6* | <0.93* | <1.3* | <1* | <6.2* | <4.5* | <7.1* | <6.5* | <3.5* | <3.8* | <5.2* | <4.4* | <0.14* | <0.14* | <0.14*
PFEESA | 113507827 | ug/Kg | <3* | <5.4* | <3.5* | <0.2* | <3.2* | <0.2* | <4.9* | <0.5* | <2.8* | <3.1* | <21* | <0.20* | <0.59* | <3* | <2.7* | <3.1* | <3.7* | <4.5* | <0.49* | <0.7* | <0.53* | <3.3* | <2.4* | <3.8* | <3.4* | <1.8* | <2* | <2.7* | <2.3* | <0.19* | <0.2* | <0.2*
PFMBA | 863090895 | ug/Kg | <2.9* | <5.1* | <3.3* | <0.31* | <3.1* | <0.31* | <4* | <0.47* | <2.6* | <2.9* | <20* | <0.31* | <0.56* | <2.9* | <2.5* | <2.9* | <3.5* | <4.3* | <0.47* | <0.66* | <0.51* | <3.1* | <2.3* | <3.6* | <3.2* | <1.8* | <1.9* | <2.6* | <2.2* | <0.3* | <0.3* | <0.31*
PFMPA | 377731 | ug/Kg | <4.9* | <8.7* | <5.7* | <0.42* | <5.2* | <0.42* | <2.8* | <0.81* | <4.5* | <5* | <34* | <0.42* | <0.96* | <4.9* | <4.4* | <5* | <6* | <7.3* | <0.8* | <1.1* | <0.87* | <5.3* | <3.9* | <6.1* | <5.5* | <3* | <3.2* | <4.4* | <3.8* | <0.41* | <0.41* | <0.42*
Total |  | ug/Kg | 22 | 0 | 710 | 316.3 | 235 | 502.5 | 647 | 89.8 | 0 | 14 | 0 | 18.6 | 11.5 | 42 | 0 | 0 | 28 | 0 | 30.5 | 12.8 | 3.5 | 87 | 0 | 27 | 16 | 0 | 53 | 105 | 0 | 38.9 | 73.7 | 0
* < MDL
** <RL, and ≥MDL
i transition mass ratio was above established ratio limits. Value may have bias. BPJ used for ID
B Compound was found in the method blank and sample
r Qualifier ion ration > 150% of associated calibration. Detection is estimated